HOUSE COMPONENTS TYPICAL LIFE SPANS
	
	Air Conditioning
	Years

	1.
	Compressors
	10-15

	2.
	Blowers / Fans
	10-15

	3.
	Heat Pump / Condenser (the outside unit)
	10-15

	 
	 
	 

	 
	Heating
	Years

	4.
	Forced-Air, Gas Furnace
	18-25

	5.
	Electric Furnaces
(Heating Elements may need periodic replacement)
	20-25

	6.
	Electric Baseboard Heaters
	10-15

	7.
	Gas Boilers (Cast Iron)
	30-60

	8.
	Gas Boilers (Steel)
	20-35

	9.
	Radiators / Expansion Tanks
	30-45

	 
	 
	 

	 
	Plumbing Systems
	Years

	10.
	Hot Water Heaters 
	8-15

	11.
	Galvanized Water Supply Lines
(With spot replacement of some sections)
	35-65

	12.
	Copper Water Supply Lines
	60-100

	13.
	Plastic Supply Lines (PVC, CPVC, ABS, PEX) 
	?

	14.
	Cast Iron Drain Lines
	45-90

	15.
	Copper Drain Lines
	50-100

	16.
	Plastic Drain Lines (PVC, ABS)
	?

	17.
	Builders Grade Faucets, etc.
	20-30

	18.
	Builders Grade Tubs, Toilets, Sinks, etc.
	35-50

	 
	 
	 

	 
	Appliances
	Years

	19.
	Garbage Disposal
	5-10

	20.
	Dishwasher 
	10-15

	21.
	Gas Ranges, Ovens & Cook-Tops
	20-35

	22.
	Electric Ranges, Ovens & Cook-Tops
	15-25

	23.
	Built-In Microwave
	5-10

	24.
	Trash Compactor
	6-12

	25.
	Refrigerator
	10-20

	26.
	Humidifiers (with regular maintenance)
	5-10

	27.
	Laundry Equipment (Washers/Dryers)
	10-20

	 
	 
	 

	 
	Roofing / Guttering
	Years

	28.
	Aluminum / Galvanized Gutters (if well maintained)
	15-25

	29.
	Composition Shingle Roof (1st layer of roofing)
	16-20

	30.
	Composition Shingle Roof (2nd roof on top of existing shingles)
	12-16

	31.
	Roll Roofing (composition)
	6-10

	32.
	Wood Shake Roofing
	15-20

	33.
	Wood Shingle Roofing
	14-18

	34.
	Slate Roofing
(depends on type of slate and quarry they came from)
	45-150

	35.
	Clay/Tile/Concrete Roofing
	30-50

	36.
	Metal Roofing
(as long as kept from rusting)
	35-70

	 
	 
	 


